## Sheet1
GUI |  |  | function | input |  |  | output | description
Initializetion
|  |  | Initilization_Callback(hObject, eventdata, handles) |  |  |  |  | print and find peak
|  |  |  | load_ini_gen(fname,handles) | load in configure.ini file
define global constant
|  |  |  | load header file |  | `
load limit,
load correction file
|  |  |  | [sa tb tw]=ini_instr(handles); | initialize instrument
Measurement
| Prescan | Measurement | Start_Prescan_Measurement
check what container to save, they are 1. resultH, 2. resultV, 3. resultH_Baseline, 4. resultV_Baseline
result=Measurement(measurement_type,hObject,handles)
check measurement_type
result=re(sa,tb,tw,s,handles)
result=re_baseline(sa,tb,tw,s,handles)
apply correction factor
[5 empty] | [Figure2D_Front DataTable PeakTable]=Result_2D_Front(result,lin,thehold) | plot 2D result
cascade result(i) (band 1 to band 6 ) to complete the whole frequency range
find the maximum in different sweeps
plot the maximum hold
%save peaktable (1x6) to result(1).PeakTable
|  | stop | StopH_Callback(hObject, eventdata, handles) | flag stopH to 1
|  | save | Fn_Save_Prescan_Callback(hObject, eventdata, handles)
select which result to save
save the result to the select file name
|  | load from file | function bt_load_prescan_Callback(hObject, eventdata, handles)
Load the result from the selected file name
select which container to load
|  | plot | bt_plot_prescan_Callback(hObject, eventdata, handles)
|  |  | plot the figures, return peaktable | [Figure2D_Front DataTable PeakTable]=Result_2D_Front(result,lin,thehold)
|  |  | if not baseline result plot | Figure2D_Side=Result_2D_Side(result);
Figure2D_Top=Result_2D_Top(result);
Figure3D=Result_3D(result);
Peak Search
|  | Auto peak search | PeakSearchAuto_Callback(hObject, eventdata, handles)
|  |  | decide if remove the baseline result. If so. Remove the baseline and store the result to ResultVB and ResultHB | result=remove_baseline(resultH,resultH_Baseline)
|  |  | Find the peak | PeakTable=PeakList(result,lin,thehold,Palority,Span)
|  |  |  | plot2D result | [Figure2D_Front DataTable PeakTable]=Result_2D_Front(result,lin,thehold) | plot 2D result
cascade result(i) (band 1 to band 6 ) to complete the whole frequency range
find the maximum in different sweeps
plot the maximum hold
[5 empty] | fn_findpeaktable(result,lin,thehold) | find and return the raw PeakTable.
Plot the limit line
check peaks distance
select the peaks
shrink the Peaktable to selected list.
save the result to "PeakTableH.txt" and "PeakTableV.txt"
plot these peaks
update the peaktable (1x12) to result(1).PeakTable
save the result into default container like ResultH, ResultV,ResultHB,ResultVB etc.
|  | Manual adjust | PeakSearchManual_Callback(hObject, eventdata, handles)
open the notepad to edit the peak tables genereated from peaksearch auto.
|  | load the manually changed peak table | bt_LoadPeaks_Callback(hObject, eventdata, handles)
load the peak list from the 'PeakTableH.txt' and 'PeakTableV.txt'
Antenna Scan
|  | scan peaks one frequency by one frequency | Start_Peak_Measurement_Callback(hObject, eventdata, handles)
define the PeakValue structure
check if resultH,resultV, load to operator
|  |  | start measurement | PeakValue=re_antenna(tw,tb,sa,freq,tw_Direction,tb_Position,handles)
set SA ready to quasi-peak mode
initialize antenna positon
initialize turn table
sweep while antenna is sweeping
apply correcton factor
check if Qpeak detector is enable is so
go to the antenna maximum location
set maker to the freq, make to list and take the final scan.
take data out from the final list.
Update Peaktable
plot 2D shape
save and update resultH and resultV; save result to PeakTableH and PeakTableV.txt, overwite previous result.
plot the antenna height vs amp.
fn_save_V_Callback(hObject, eventdata, handles)
Decide what result to save. They are resutlH, resultV
Plot 2D result
Check if the Peaktable is empty. It is created by peak search auto function!
if the peaktable is not empty
overlay the narrow band peak result over 2D plot
Result_Fig=Result_antennascan(result)
save
fn_save(num2cell(result(1).PeakTable),Figure2D_Front,Figure2D_Side,Figure2D_Top,Figure3D,DataTable,Polarization)
if the peaktabl is empty
just plot Figure2D_Top=Result_2D_Top(result);
| Antenna Scan |  |  | Result=Re(sa, tb, tw, s, handles)
Result=Re_baseline(sa, tb, tw, s, handles)
peak scan
|  |  | Result_2D_Front | result, | Freq | 1x2001 | Figure2D_Front
[5 empty] | Position | 1x35
[5 empty] | REValue | 2001x35
[5 empty] | Polarization | 0
|  |  |  | lin, |  |  | DataTable | Combination of all bands. [freq maximum RE]
|  |  |  | thehold |  |  | PeakTable | [indexnum freq peakvalue peakposition peaklimit delt]
|  |  | Find_Peak_location | result
peak()
PosH

## Sheet2
S object
S object | .NameStr
| .Report_header | Test equipment description
.NameNum
.StandardsNum
.StandardsStr
.Model
.Number
.Discripton
.StandardsStr
.Date
| .ChmaberSite | (0,1)
| .BandSelection | [0 0 0 0 0 1]
Data Structure
Result
|  | Result(1) band 1 | Result(2) band 2 | Result(3) band 3 | Result(4) band 4 | Result(5) band 5 | Result(6) band6
|  | .Freq(i) (30-200) | .Freq(i) (200-400) | .Freq(i) (400-600) | .Freq(i) (600-800) | .Freq(i) (800-1000) | .Freq(i) (30-1000)
| .Position(i) | .REValue(I,j) | .REValue(I,j) | .REValue(I,j) | .REValue(I,j) | .REValue(I,j) | .REValue(I,j)
| .Position(i) | .REValue(I,j) | .REValue(I,j) | .REValue(I,j) | .REValue(I,j) | .REValue(I,j) | .REValue(I,j)
.Polarization
.PeakTable
.PeakValue
| Note | save all test data into this matrix, this datatype is used for ResultH, ResultV, ResultF, ResultHB,ResultVB,ResultH_Baseline, ResultV_Baseline
PeakValue |  | PeakValue(i)
| .Freq | 1xn
| .tb_Position | 1x1
| .tw_Position | 1xn
| .REValue | 1xn
Note
PeakTable (from result_2d_front) | (nx6)
| [indexnum | freq | peakvalue | peakposition | peaklimit | delt]
| Note | flatten band 1-5, plot maximum hold value on all positons, any frequency point above the limit thethehold will be saved into this matrix
PeakTable2 (from PeakList) | (nx8)
| [indexnum | freq | peakvalue | peakposition | peaklimit | delt] | Antenna height | Antenna scan amplitude
| Note | flatten band 1-5, plot maximum hold value on all positons, any frequency point above the limit thethehold will be saved into this matrix
| [Indexnum | Freq | Table_pos | Height_pos | Polority | Limit | Peak | Qpeak | Avg | DeltPeak | DeltQP | DeltAvg
| Note | flatten band 1-5, plot maximum hold value on all positons, any frequency point above the limit thethehold will be saved into this matrix
DataTable | (nx2)
| [Freq | Maximum_RE_value]
Corr | .corrH
.corrV
H, V correction factor
Constant | NA_Points=401; | 401
| BD_Points=11667; | 11667
| TW_upperlimt=320; | 320 | 208
| TW_lowerlimt=100; | 100 | 102
| StopH | 0
| StopV | 0

## Sheet3
PeakSearchAuto_Callback(hObject, eventdata, handles)
Search peak to do narrow scan
Peaklist()