## Sheet1
AssetTags | Manufacturer | Model Number | Description | Serial Number | Division | HTC Owner | Cal Requirement | Cal Due Date | Comments
EMC | [8 empty] | 2019-02-22
318632 | Agilent | 6813B | AC Power Source/Analyzer | MY41001158 | EMC Test Equipment (CHTC) | Clifford | Z540 Calibration | 2019-04-10
329665 | Agilent | E4443A | PSA Spectrum Analyzer | MY51100007 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2019-06-16
| Agilent | U2004A | USB Power Sensor | MY47400241 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2019-08-22
| Keysight | U2004A | USB Power Sensor | MY55500012 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2020-01-15
| Keysight | U2004A | USB Power Sensor | MY58320002 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2019-09-14
| Keysight | U2004A | USB Power Sensor | MY48400223 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2020-02-22
| Agilent | N5181A | MXG Analog Signal Generator | MY47420523 | EMC Test Equipment (CHTC) | Clifford | 17025 Calibration | 2019-05-02 | 3 Year Cal
| Agilent | N5181A | MXG Analog Signal Generator | MY50142041 | EMC Test Equipment (CHTC) | Clifford | 17025 Calibration | 2021-06-26 | 3 Year Cal
333692 | Agilent | N9038A | EMI Receiver | MY51210168 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2020-01-19
537538 | Agilent | N9038A | EMI Receiver | MY52260152 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2019-04-16
| Amplifier Research | DC7205A | Dual Directional coupler | 351190 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2021-02-01
| Keysight | N9038A | EMI Receiver | MY56400038 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2020-01-22
236046 | Agilent | N9039A | RF Preselector | MY46520261 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2020-01-18
| ETS-Lindgren | 3142E | Antenna / Biconolog (Type7) | 201843 | EMC Test Equipment (CHTC) | Clifford | User Calibration | TBD | Out for Cal
| ETS-Lindgren | 3142E | Antenna / Biconolog (Type7) | 156974 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2020-10-31
303861 | ETS-Lindgren | HI-6005 | E-Field Probe | 75109 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2020-01-18
CO8EI11312 | Fischer CC | FCC-801-M3-16 | Coupling Network | 48 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2019-04-17
270090 | Hewlett Packard | 33120A | Function Generator | US34013033 | EMC Test Equipment (CHTC) | Clifford | Z540 Calibration | 2019-04-16
284053 | Hewlett Packard | E4420B | ESG Series Signal Generator | US39340726 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2019-06-28
| Keysight | 34411A | DIGITAL MULTIMETER | MY53001598 | EMC Test Equipment (CHTC) | Clifford | Z540 Calibration | 2020-01-15 | 01162019 CAR - OoT@Transcat
| Keysight | E5061B | ENA Network Analyzer | MY49810407 | EMC Test Equipment (CHTC) | Clifford | Z540 Calibration | 2020-01-19
301448 | KEYTEK | EMCpro | Power Line Immunity Tester | 102311 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2020-01-22 | M Prcision Cal - No quote
| KEYTEK | MZ-15/EC | ESD Minizap Tester - LQD | 102267 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2019-06-20 | M Prcision Cal - No quote
CO8EI13180 | KEYTEK | MZ-15/EC | ESD Minizap Tester - LQD | 5295 | EMC Test Equipment (CHTC) | Clifford | User Calibration | 2019-08-22 | M Prcision Cal - No quote
ENV
333960 | Agilent | 34901A | 20-Channel Armature Multiplexer | MY41130515 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | N/A | In Use for Non-Qual Testing
336341 | Agilent | 34901A | 20-Channel Armature Multiplexer | MY41130518 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-06-18
336337 | Agilent | 34901A | 20-Channel Armature Multiplexer | MY41130519 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-06-18
| Agilent | 34901A | 20-Channel Armature Multiplexer | US41012038 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | N/A | In Use for Non-Qual Testing
336340 | Agilent | 34901A | 20-Channel Armature Multiplexer | MY41130525 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-11-30
336339 | Agilent | 34901A | 20-Channel Armature Multiplexer | MY41130539 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-12-20
| Agilent | 34901A | 20-Channel Armature Multiplexer | MY41130638 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | N/A | In Use for Non-Qual Testing
336336 | Agilent | 34901A | 20-Channel Armature Multiplexer | MY41130642 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-06-18
| Agilent | 34901A | 20-Channel Armature Multiplexer | MY41170092 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2020-01-22
301969 | Agilent | 34970A | Data Acquisition/Switch Unit | MY41027117 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2020-01-31
237799 | Agilent | 34970A | Data Acquisition/Switch Unit | US37032729 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-11-28
282853 | HP | 34970A | Data Acquisition/Switch Unit | US37018578 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-06-26
301967 | Agilent | 34970A | Data Acquisition/Switch Unit | US37036239 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2020-01-15
301971 | Agilent | 34907A | Multi-function module | MY41000658 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-12-17
329253 | Agilent | 34972A | LXI Data Acquisition/Switch Unit | MY49001553 | ENV Test Equipment (CHTC) | Tim | ISO-9000 Calibration | 2019-10-16
329252 | Agilent | 34972A | LXI Data Acquisition/Switch Unit | MY49001554 | ENV Test Equipment (CHTC) | Tim | ISO-9000 Calibration | N/A | In Use for Non-Qual Testing
329254 | Agilent | 34972A | LXI Data Acquisition/Switch Unit | MY49021970 | ENV Test Equipment (CHTC) | Tim | ISO-9000 Calibration | 2019-08-14
329538 | Agilent | 34972A | LXI Data Acquisition/Switch Unit | MY49004914 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-12-12 | Reported com issue prior to cal- no issue @TC
329251 | Agilent | 4339B | High Resistance Meter | MY43102863 | ENV Test Equipment (CHTC) | Bill | User Calibration | 2019-08-16
284606 | Agilent | 6812B | AC Power Source / Analyzer | US38390770 | ENV Test Equipment (CHTC) | Bill | Z540 Calibration | 2019-06-26
333492 | Agilent | E3630A | Triple Output DC Power Supply | MY51320006 | ENV Test Equipment (CHTC) | Tim | ISO-9000 Calibration | 2019-10-22
333493 | Agilent | E3630A | Triple Output DC Power Supply | MY51320011 | ENV Test Equipment (CHTC) | Tim | ISO-9000 Calibration | 2019-10-22
| Agilent | MSO-X 4154A | 4+16CH 1.5GHZ OSCILLOSCOPE | MY52500460 | ENV Test Equipment (CHTC) | Tim | User Calibration | 2020-09-05
| Agilent | MSO7104A | 4-Ch 1GHz Oscilloscope | MY47470009 | ENV Test Equipment (CHTC) | Tim | User Calibration | 2019-03-05
333947 | Agilent | N3306A | 600 W Electronic Load Module | MY52000956 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-06-25
333946 | Agilent | N3306A | 600 W Electronic Load Module | MY52000959 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-06-25
333953 | Agilent | N3306A | 600 W Electronic Load Module | MY52000957 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-06-25
333952 | Agilent | N3306A | 600 W Electronic Load Module | MY52000944 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-06-25
333955 | Agilent | N3306A | 600 W Electronic Load Module | MY52000951 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-06-25
333939 | Agilent | N3306A | 600 W Electronic Load Module | MY52000952 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-04-24
333956 | Agilent | N3306A | 600 W Electronic Load Module | MY52000954 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-06-22
333942 | Agilent | N3306A | 600 W Electronic Load Module | MY52000950 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-04-24
333943 | Agilent | N3306A | 600 W Electronic Load Module | MY52000942 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-04-24
| Agilent | N3306A | 600 W Electronic Load Module | MY41004040 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-06-25
333941 | Agilent | N3306A | 600 W Electronic Load Module | MY52000960 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-04-24
333950 | Agilent | N3306A | 600 W Electronic Load Module | MY52000947 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-06-25
333948 | Agilent | N3306A | 600 W Electronic Load Module | MY52000958 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-09-21
| Agilent | N3306A | 600 W Electronic Load Module | MY41004039 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-06-25
333940 | Agilent | N3306A | 600 W Electronic Load Module | MY52000943 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-04-24
333954 | Agilent | N3306A | 600 W Electronic Load Module | MY52000946 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-06-22
333938 | Agilent | N3306A | 600 W Electronic Load Module | MY52000939 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-04-24
333945 | Agilent | N3306A | 600 W Electronic Load Module | MY52000945 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-06-25
333951 | Agilent | N3306A | 600 W Electronic Load Module | MY52000941 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-06-22
333949 | Agilent | N3306A | 600 W Electronic Load Module | MY52000953 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-06-25
| AlphaLab | MGM | DC Milligauss Meter | 702 | ENV Test Equipment (CHTC) | Bill | User Calibration | 2019-01-15 | Out For Cal
CO80056348 | Bruel & KJ | 4369 | ACCELEROMETER 6254 | 1016254 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-15
327415 | CHATILLON | DFGS100 | Digital Force Gauge | 25139 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-06-15
CO80057714 | COLUMBIA | 7001 | ACCELEROMETER | 113 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-19
80057638 | COLUMBIA | VS-100 | Accelerometer - STANDARD | 112 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-09-21
| COLUMBIA | 8302-M10 | Accelerometer | 224 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-19
| Control Company | 6452 | Hygrometer | 170845821 | ENV Test Equipment (CHTC) | Tim | User Calibration | 2019-11-28
| Dytran | 3030B5 | Accelerometer | 13337 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-15
| Dytran | 3225F1 | ACCELEROMETER 2679 | 2679 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-19
| Dytran | 3225F1 | ACCELEROMETER 2679 | 2680 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-19
| Flir Systems | SC660 | Infrared Camera | 404002916 | ENV Test Equipment (CHTC) | Bill | User Calibration | N/A | Waiting for New Camera Purchase - In Use for Non-Qual Testing
| Foxboro | 875CR-A1F-A | Conductivity Resistivity Monitor | 622916020002 | ENV Test Equipment (CHTC) | Bill | Z540 Calibration | 2019-08-13
| Foxboro | 871CR-A1T1A1A1 | Conductivity Resistivity Sensor | 2B0604 | ENV Test Equipment (CHTC) | Bill | Z540 Calibration | 2019-08-13
237801 | Hewlett Packard | 34401A | 6 1/2 DIGIT MULTIMETER | 3146A52970 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-07-20
282723 | Hewlett Packard | 3478A | DIGITAL MULTIMETER | 2301A16081 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-07-25
237798 | Hewlett Packard | 3478A | DIGITAL MULTIMETER | 2301A17837 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-06-18
282675 | Hewlett Packard | 3478A | DIGITAL MULTIMETER | 2301A18949 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-11-30
282724 | Hewlett Packard | 3478A | DIGITAL MULTIMETER | 2545A24230 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-12-12
282856 | Hewlett Packard | 3478A | DIGITAL MULTIMETER | 2619A33692 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-12-12
282857 | Hewlett Packard | 3478A | DIGITAL MULTIMETER | 2619A33706 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-12-12
270094 | Hewlett Packard | 3478A | DIGITAL MULTIMETER | 2619A34231 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-05-16
270095 | Hewlett Packard | 3478A | DIGITAL MULTIMETER | 2911A64600 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-06-18
282859 | Hewlett Packard | 34901A | 20 Channel Multiplexer | US37000790 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-03-28
338100 | Hewlett Packard | 34901A | 20 Channel Multiplexer | US37000844 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-11-30
312386 | Hewlett Packard | 34901A | 20 Channel Multiplexer | US37015149 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-07-25
311038 | Hewlett Packard | 34901A | 20 Channel Multiplexer | US37015815 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-10-16
321126 | Agilent | 34901A | 20-Channel Armature Multiplexer | MY41119644 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | N/A | In Use for Non-Qual Testing
284950 | Hewlett Packard | 34903A | 20-CHANNEL ACTUATOR/SWITCH | US37003627 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-11-30
284951 | Hewlett Packard | 34908A | 40-Channel Single-Ended Multiplexer | US37002527 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-11-30
303180 | Hewlett Packard | 34908A | 40-Channel Single-Ended Multiplexer | US37001191 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-11-20
312385 | Hewlett Packard | 34970A | Data Acquisition/Switch Unit | US37014013 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2020-01-15
237839 | Hewlett Packard | 60501A | 150W Load Module | 2926A00245 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-10-19
237836 | Hewlett Packard | 60501A | 150W Load Module | 3031A01789 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-10-19
237838 | Hewlett Packard | 60501A | 150W Load Module | 3031A01791 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-10-19
237834 | Hewlett Packard | 60501A | 150W Load Module | 3031A01795 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-10-19
237835 | Hewlett Packard | 60501A | 150W Load Module | 3031A01798 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-10-19
237837 | Hewlett Packard | 60501A | 150W Load Module | 3031A01818 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-10-19
309740 | Hewlett Packard | E2378A | Multimeter | 2933J03016 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2020-01-11
| Instron | 5967 | Pull Tester | 5967U2635 | ENV Test Equipment (CHTC) | Bill | User Calibration | 2019-08-30
| Keysight | B2985A | High Resistance Meter | MY54320224 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-12-04
| Keysight | B2985A | High Resistance Meter | MY54320752 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2020-02-19
| Keysight | B2912A | Precision Source | MY51142860 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-01-23 | Out For Cal
| Keysight | N3306A | Electronic Load Module | MY52001955 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-09-21
| Keysight | N3306A | Electronic Load Module | MY52001991 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-09-21
| Keysight | 34461A | Digital Multimeter | MY57336464 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-12-05
| Keysight | 34972A | Data Acquisition/Switch Unit | MY57013207 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2020-01-01
| Lakeshore Cryotronics | MODEL460 | 3-Channel Gaussmeter | 460A01V | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-04-28 | Use special box
| LANSMONT | 103570-2-B | TP3 Test Partner USB | 1009-34 | ENV Test Equipment (CHTC) | Tim | User Calibration | 2019-04-10
333979 | Mitutoyo | 500-196-20 | Digital Calipers | 13256768 | ENV Test Equipment (CHTC) | Bill | Z540 Calibration | 2020-01-17
| Monarch Instruments | PBX 115/230 | Stroboscope | 2581850 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration
| Myron L | 4PII | Water Quality Multimeter | 4235157 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-03-19
| Nagel Electronic | KHT100C | Probe Calibration Generator | 1182 | ENV Test Equipment (CHTC) | Mike | Z540 Calibration | 2019-09-17 | Michael Auden's Equip
333635 | Omega | CL27 | CALIBRATOR-THERMOMETER | T-285245 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-10-19
333633 | Omega | CL27 | CALIBRATOR-THERMOMETER | T-285247 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-10-19
333634 | Omega | CL27 | CALIBRATOR-THERMOMETER | T-285243 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-11-30
301956 | Omega Engineering | HH-25TC | Thermometer | T182766 | ENV Test Equipment (CHTC) | Tim | Z540 Calibration | 2019-09-18
CO8EI12236 | PCB | 302A07 | ACCELEROMETER 3931 | 13931 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-15
CO8EI12237 | PCB | 339B11 | ACCELEROMETER 1254 | 1254 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-20
| PCB | 352C22 | ACCELEROMETER | 75697 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-19
| PCB | 352C22 | ACCELEROMETER | LW146484 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-19
| PCB | 352C22 | ACCELEROMETER | LW146485 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-19
| PCB | 352C22 | ACCELEROMETER | 75740 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-15
| PCB | 352C22 | ACCELEROMETER | 75741 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-15
CO8EI12302 | PCB | 353B04 | ACCELEROMETER | 38745 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-15
CO8EI14147 | PCB | 353B04 | ACCELEROMETER | 77656 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-15
CO8EI12300 | PCB | 356A11 | TRIAXIAL ACCELEROMETER | 3738 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-20
| PCB | 356B21 | TRIAXIAL ACCELEROMETER | 72454 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-15
| PCB | 356B21 | TRIAXIAL ACCELEROMETER | 72558 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-15
| PCB PIEZOTRONICS | 352C22 | ACCELEROMETER | 104596 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-19
333407 | PCB PIEZOTRONICS | 356B21 | TRIAXIAL ACCELEROMETER | LW117802 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-20
202725 | THERMOTRON | ATS-30-V-705-705-AC | ENV Chamber #1 | 46472 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-06-27
| Setra | 470 | Digital Pressure Transducer | 6756737 | ENV Test Equipment (CHTC) | Tim | User Calibration | 2019-06-27
202725 | THERMOTRON | FA-35-CHM-705-705 | ENV Chamber #6 | 292/1953RF | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-04-05
| THERMOTRON | SE-2000-15-15 | ENV Chamber #9 | 49537 | ENV Test Equipment (CHTC) | Ryan | User Calibration | TBD
800-40367 | THERMOTRON | FM-64-CHM-15-15 | ENV Chamber #2 | 12892 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-04-03
67860 | THERMOTRON | M-64-CHM-705-705 | ENV Chamber #3 | 7723 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-06-27
69185 | THERMOTRON | WP-769-THCM4- 25/30 | ENV Chamber #5 | 23-9630 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-04-03
| THERMOTRON | SM-8 | ENV Chamber # 10 | 33844 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-04-03
| THERMOTRON | SM-8 | ENV Chamber # 11 | 49455 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-06-27
| THERMOTRON | SE-1400-15-15 | ENV Chamber # 12 | 49842 | ENV Test Equipment (CHTC) | Ryan | User Calibration | TBD
282854 | VITREK | 944i | Dielectric Analyzer | 11368 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2020-01-15
282852 | VITREK | 944i | Dielectric Analyzer | 11375 | ENV Test Equipment (CHTC) | Ryan | Z540 Calibration | 2019-10-15
237762 | Walker Scientific |  | Fluxgate Milligauss Meter | 1633 | ENV Test Equipment (CHTC) | Bill | User Calibration | 2020-01-17 | (send to Micro Precision)
| Dytran | 3030C1 | Accelerometer, Charge Mode | 14197 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-11-15
| Vibration Research | VR9500 | Vibration Table Controller | 952184C3 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-05-23
| Vibration Research | VR9500 | Vibration Table Controller | 95218467 | ENV Test Equipment (CHTC) | Ryan | User Calibration | 2019-05-23
| Crowcon | TXGuard Plus | Oxygen Monitor | 17333 | ENV Test Equipment (CHTC) | Bill | User Calibration | 2019-09-27
| Crowcon | TXGuard Plus | Oxygen Monitor | 21158 | ENV Test Equipment (CHTC) | Bill | User Calibration | 2020-11-08
| Olympus | DS-6500-C | Innov-X Delta XRF RoHS ANALYZER | 501094 | ENV Test Equipment (CHTC) | Bill | User Calibration | 2019-12-21
SAF
301117 | AEMC | MR410 | AC/DC Current Probe | 03I66725DV | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-12-20
309055 | Agilent | 34901A | 20-Channel Armature Multiplexer | US37245312 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-08-14
| Ametek - Calif Instr | AST0501A1B-E101A0A | AC & DC Power Supply (5kHz) | 1823A00591 | Safety Test Equipment (CHTC) | Robert | 17025 Calibration | 2019-06-15 | Specify electrical specs for cal
282634 | Hewlett Packard | 34901A | 20-Channel Armature Multiplexer | US37012434 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-06-25
237519 | Hewlett Packard | 34901A | 20-Channel Armature Multiplexer | US37012931 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-11-30
318631 | Agilent | N2891A | 70 MHz Differential Probe | PH49460104 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2020-02-05
282615 | Agilent | 34970A | Data Acquisition/Switch Unit | MY41001413 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-08-14
316122 | Agilent | 34970A | Data Acquisition/Switch Unit | MY44050106 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-04-13
264639 | Agilent | 6813B | AC Power Source/Analyzer | MY41001004 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-04-30 | Out for Cal - CSA Alignment
318630 | Agilent | MSO7034A | Mixed Signal Oscilloscope | MY47470003 | Safety Test Equipment (CHTC) | Sean | User Calibration | 2019-06-25
309739 | Agilent | N5762A | DC Power Supply | US08L1645H | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-11-26
311239 | Arlyn | 320D | Platform Scale | 26835 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-10-12
329490 | California Instruments | 5001IX-208 | Programmable AC/DC Power Source/Analyzer | 60186 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2020-01-02
| California Instruments | 10001IX-208 | Programmable AC/DC Power Source/Analyzer | 1410A00579 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-07-31
| Chroma Systems | 19572 | AC Ground Bond Tester | 195720001194 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-06-26
282625 | CRAFTSMAN | 939840 | Protractor | NONE | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-09-24
318441 | EXTECH | 407119A | CFM Thermo-Anemometer | Z187285 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-09-21
| EXTECH | FG-5000 | Digital Force Gauge | L620984 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-05-16
270224 | Hewlett Packard | 34401A | 6 1/2 DIGIT MULTIMETER | 3146A52938 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-04-13
282619 | Hewlett Packard | 34401A | 6 1/2 DIGIT MULTIMETER | US36102732 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2020-01-31
284948 | Hewlett Packard | 34901A | 20 Channel Multiplexer | US37022643 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-06-25
282618 | Hewlett Packard | 973A | DIGITAL MULTIMETER | JP35003983 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-11-20
| Keysight | U1233A | DIGITAL MULTIMETER | MY58430006 | Safety Test Equipment (CHTC) | Robert | 17025 Calibration | 2019-12-21
298572 | IMADA | ZP-110 | Force Gauge | 144399 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-11-29
| Keysight | 6813B | AC Power Source/Analyzer | MY54000482 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-10-23 | Out for Cal - Simco Electronics
| Keysight | MSOX4052A | Mixed Signal Oscilloscope | MY57450146 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2020-02-11
| Keysight | N2791A | Differential Probe | PH57520036 | Safety Test Equipment (CHTC) | Sean | User Calibration | 2019-04-26
| Keysight | E4980A | LCR Meter | MY46516555 | Safety Test Equipment (CHTC) | Robert | 17025 Calibration | 2019-05-17
| Keysight | PA2203A | Power Analyzer | MY56000279 | Safety Test Equipment (CHTC) | Robert | 17025 Calibration | TBD | Out for Cal
| Larson Davis | 831 | Sound Level Meter | 0004381 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-10-25
| Larson Davis | 378A04 | Sound Meter Microphone System | 126839 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-10-25
| Larson Davis | 130F20 | Sound Meter Microphone System | 47200 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-10-25
| Larson Davis | CAL200 | Acoustic Calibrator | 13721 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-10-22
| QuadTech | Guardian 500VA | Hipot Tester | G500VAP0008 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-06-26
223918 | THERMOTRON | SE-1000-10-10 | ENV Chamber #8 | 37285 | Safety Test Equipment (CHTC) | Sean | User Calibration | 2019-04-04
49845 | THERMOTRON | SMX-64-705-705 | ENV Chamber #4 | 30608 | Safety Test Equipment (CHTC) | Sean | User Calibration | 2019-04-02
| Control Company | 4247 | Hygro-Thermo-Baro-DP Pen | 122058577 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-09-19
285318 | Control Company | 4247 | Hygro-Thermo-Baro-DP Pen | 170847641 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-12-11
| Control Company | 1051 | Digital Stop Watch | 140760461 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-11-15
| Compliance West | HTT-1 | Function Tester | 432934 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-06-25
| Mitutoyo | 500-196-30 | Digital Calipers | A17055808 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2019-09-13
| Ergonomics Inc | JFP10 | Jointed Finger | 683 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2022-05-22 | 3 Yr Cal
| Ergonomics Inc | UFP25 | Rigid Finger | 108 | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2022-05-22 | 5 Yr Cal
| Keysight | Safety-6 | Test Pin 3mm Dia | NONE | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2022-07-07 | 5 Yr Cal
| Keysight | Safety-7 | Test Pin 4mm Dia | NONE | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2022-07-07 | 5 Yr Cal
| Keysight | Safety-8 | Steel Sphere 500 Grams | NONE | Safety Test Equipment (CHTC) | Sean | 17025 Calibration | 2022-07-14 | 5 Yr Cal
| Rigol | DL3021 | DC Electronic Load | DL3A204100831 | Safety Test Equipment (CHTC) | Robert | 17025 Calibration | 2019-10-31
286994 | Mettler-Toledo | ME1002TE/00 | Precision Balance | B848844787 | Safety Test Equipment (CHTC) | Robert | 17025 Calibration | 2019-12-17
285243 | Ohaus | 200-16 | Precision Weight Set | NONE | Safety Test Equipment (CHTC) | Robert | 17025 Calibration | 2023-07-27 | 5 Yr Cal